### Extra buttons alarm mimic

Depending if the station is set as a specific alarm station, some extra buttons will appear at the bottom of the alarm mimic. When the OWS is set-up as a bridge station, the icons as shown in Figure 2‑6 will appear. When the OWS is set-up as an ER station, the icons as shown in Figure 2‑7 will appear.



Figure 2‑6: Bridge set-up icons



Figure 2‑7: ER set-up icons

The meaning and handling of these icons are explained in the following table.

|  |  |
| --- | --- |
| **Button** | **Explanation** |
|  | Press to print (part of) the alarm list |
|  | Press and select space or crewmember to call |
|  | Switch station On/Off (when applicable) |
|  | Scroll to top |
|  | Scroll up |
|  | Scroll down |
|  | Acknowledge or silence alarms |
|  | Select crew for Bridge duty |
|  | Switch BNWAS On/Off |
|  | Select crew for ER duty |
|  | Switch personnel alarm On/Off |

Table 7: Alarm mimic set-up icons